# Study of Different Speed and Torque Measuring Instrument

## Introduction

Speed and torque are two very important parameters in electrical machines and rotating mechanical systems. Speed indicates how fast a shaft or rotor rotates, while torque represents the turning force produced by the machine. Accurate measurement of these quantities is necessary for analyzing machine performance, efficiency, and load conditions.

Two commonly used instruments for these measurements are the analog torque meter and the tachometer. An analog torque meter is used to measure the torque produced by a rotating shaft. It generally displays the torque value using a mechanical or analog dial indicator.

A Tachometer is an instrument used to measure the rotational speed of a shaft or motor. The speed is usually expressed in revolutions per minute (RPM) [1]. Tachometers can be mechanical, electrical, or digital. In laboratories, digital or optical tachometers are commonly used because they provide quick and accurate speed measurements without direct contact with the rotating shaft.

## Objective

- To study the construction and operation of a tachometer.

- To measure the rotational speed of a rotating machine.

## Apparatus

- Tachometer

- Analog Torque Meter

- Stopwatch

## Operation Principle

### Tachometer:

The tachometer works on the principle of measuring the rotational speed of a shaft. In a mechanical tachometer, the rotating shaft drives a small generator or mechanical mechanism which produces a proportional deflection on the dial indicator. The deflection corresponds to the speed in RPM. In digital or electronic tachometers, sensors detect rotational motion and convert it into electrical signals to display speed.

### Analog Torque Meter:

The analog torque meter operates based on the twisting effect produced on a shaft when torque is applied. When torque acts on the shaft, it produces a small angular strain. This stain is measured by the torque meter mechanism and converted into a readable value on a calibrated dial. The indicated value represents the torque applied to the shaft.

## Result

| Analog Torque Meter |  |  |  |
| --- | --- | --- | --- |
| Data Reading |  | Result |  |
| Time (s) | No. of Obs. | Speed (rpm) | Mean (rpm) |
| 60 |  | 1366 | 1425 |
|  |  | 1530 |  |
|  |  | 1378 |  |
|  |  | 2398 | 2495 |
|  |  | 2153 |  |
|  |  | 2934 |  |
|  |  | 3035 | 3375 |
|  |  | 3950 |  |
|  |  | 3139 |  |

| Tachometer |  |  |
| --- | --- | --- |
| No. of Obs. | Data Reading | Mean Speed (rpm) |
|  | 1990 | 2013 |
|  | 2020 |  |
|  | 2030 |  |
|  | 2510 | 2620 |
|  | 2700 |  |
|  | 2650 |  |
|  | 3790 | 3900 |
|  | 3910 |  |
|  | 4000 |  |

## Discussion

During the experiment, the speed measuring instrument (tachometer) was used to determine the rotational speed of the motor shaft. The instrument showed the speed directly in RPM. Proper alignment with the rotating shaft was necessary to obtain an accurate reading.

The analog torque meter was used to observe the torque produced by the system. The meter indicated torque through a mechanical dial scale. It was observed that as the load on the motor increased, the torque value also increased.

Both instruments are essential for evaluating the performance characteristics of rotating machines. Accurate measurement helps in understanding the relationship between speed, torque, and load conditions.

## Conclusion

From this experiment, we learned about the working principles and applications of tachometers and analog torque meters. These instruments are important for measuring the speed and torque of rotating machines. Proper use of these devices helps in analyzing machine performance and ensuring efficient operation of mechanical and electrical systems.

## Reference

[1]	“Tachometer,” Wikipedia. Sep. 18, 2025. Accessed: Mar. 16, 2026. [Online]. Available: https://en.wikipedia.org/w/index.php?title=Tachometer&oldid=1312035529